## Slide 1
22AIC14 & INTERNET OF THINGS AND ITS APPLICATIONS
Guided By :
Dr.K.Lalitha
PRESENTED By :
BHARANI.S(22AI004),
BHARANIDHARAN.G(22AI005),
KEERTHIVARSAN.D(22AI022).
TANK WATER LEVEL,PUMPING AND QUALITY MONITORING SYSTEM
TEAM NO. 4

## Slide 2: Abstract
This project presents an IoT-based system for monitoring both the water level and quality in tanks. It uses sensors to measure the water level and assess parameters like pH to ensure water quality.
The data is transmitted in real-time to users via LCD display, alerting them to critical changes in water levels or quality. This system offers a cost-effective solution for efficient water management in residential, agricultural, and industrial settings.

## Slide 3: Objectives:
The objective of this project is to develop an automated system for real-time monitoring of tank water levels and quality using IoT-based sensors.
The system aims to provide timely alerts for critical changes, ensuring efficient water management and the maintenance of safe, usable water for residential, agricultural, and industrial purposes.

## Slide 4: Components Required:
Ultrasonic Sensor (HC-SR04): For water level detection.
pH Sensor: To measure the acidity/alkalinity of the water.
Motor: To pump water to tank.
LCD Display: To display the water level.
Microcontroller: Arduino Uno or Raspberry Pi to interface with sensors and process data.
Power Supply: For powering the components.

## Slide 5
Flow Diagram:

## Slide 6: Implementation: (Hardware)
Install Sensors: Place ultrasonic sensors at the top of the tank and quality sensors at strategic points to monitor various parameters.
Connect to Microcontroller: Wire the sensors to the microcontroller, ensuring proper configuration for data reading.
Set Up Connectivity: Configure the microcontroller to connect to the system via USB Cable
Display Readings: To display water level and quality to user by using LCD display connect with microcontroller.

## Slide 7: Thank You